## USAACE 2725
√ -- If satisfactory U – If unsatisfactory | [6 empty] | January
LOCATION: |  | MONTH: |  |  |  |  | February
INSPECTOR: |  | WEEK 1 | WEEK 2 | WEEK 3 | WEEK 4 | WEEK 5 | March
PHONE NO: |  | Date: | Date: | Date: | Date: | Date: | April
INSPECTOR (Alt): |  | Initials: | Initials: | Initials: | Initials: | Initials: | May
A. CONTAINER MANAGEMENT | [6 empty] | June
1) | Containers are in good condition (no damage or leaks) | [5 empty] | July
2) | Wastes are in compatible containers | [5 empty] | August
3) | Containers are closed | [5 empty] | September
4) | Incompatible wastes are segregated | [5 empty] | October
5) | All HW containers are properly marked “Hazardous Waste” with contents, indication of hazards of contents, EPA ID, and waste code(s) | [5 empty] | November
6) | HW is collected at or near the point of generation | [5 empty] | December
7) | HW is under the control of the generator
B. ACCUMULATION TIME
1) | 55-gallons or less of each HW stream is stored in the designated area (or 1-quart of “P” listed waste)
2) | Full containers dated less than three days old
C. PREPAREDNESS & PREVENTION
1) | Communication equipment is available and working
2) | Fire control equipment is available
3) | Spill control equipment is available
4) | Decontamination equipment (e.g. shower, eye wash) is available
5) | The equipment listed above is maintained
6) | Aisles are clear for emergency evacuation
7) | A Site Specific Spill Plan and ISCP exists for facility and signage indicates emergency contact
D. PERSONNEL TRAINING
1) | Facility personnel are trained in HW handling and emergency response
2) | Employee training records are maintained, readily accessible, and documented on AVCOE Form 2735
NOTES (unsatisfactory observations, explanations and corrections to be noted with date and corrective actions taken.)
√
U